## QUOTE
|  |  |  | - |  |  |  | - | ORDER
AIRLITEC Sarl 88, rue Jean Jaures 80470 Dreuil Les Amiens France
TEL.: +33 (0) 3 22 54 83 47 FAX: +33 (0) 9 70 61 16 19
Siret: 514 488 105 00016 Code APE: 4669B N° TVA: FR36514488105
| To : | ALTO-Instruments |  |  |  |  | DATE: |  | 2012-11-21
|  | 13 Avenue du Bois Guimier |  |  |  |  | Our Order No. : |  | 1211RH163
|  | 94100 Saint Maur des Fossés |  |  |  |  | Our offer No. : |  | A2012RH226
[7 empty] | Customer reference No. : |  | A12-1129-7555
| Att.: | Etienne Chipon |  |  |  |  | Your reference No. : |  | DV 1 206 002 619
| Tel.: | mobile: 0630062861 |  |  |  |  | Contact person : |  | Mr. Regis Houllier
| Fax: | Fixe: 0143979469 |  |  |  |  | Tel: |  | +33 3 22 54 83 47
| Email: | Etienne Chipon (e.chipon@alto-instruments.fr) |  |  |  |  | Fax: |  | +33 9 70 61 16 19
| Web: | [5 empty] | Email: |  | regis.houllier@airlitec.com
[7 empty] | Web: |  | www.airlitec.com
| ITEM | MODEL | DESCRIPTION | Q'TY | List Price | Discount | U/PRICE |  | AMOUNT | LEAD TIME
[7 empty] | (EURO) |  | (EURO) | (Weeks)
| 1 | GSC-B9TS-BB23 | Débitmètre massique type GSM | 1 | 1400 | 20% | 1120 |  | 1120 | 3
Avec vanne de régulation automatique
Gaz: N2
Gamme de mesure: 1-100
Unité de mesure: ln/h
Précision: +/-0,3 pleine echelle; +-0,5% valeur mesurée
Press. amont: 1.5 bar a, pression sortie: 1 bar a
Température: 20 °C
Raccordement: G1/4" fem.
Mat. du corps: Inox
Joints: FKM
Alimentation: +24 Vdc
Sorties: RS485 Modbus RTU et 4-20mA
Certificat d'étalonnage 6 points avec traçabilité METAS
Garantie 3 ans
| 2 | GSC-C9TS-BB26 | dito | 1 | 1400 | 20% | 1120 |  | 1120 | 3
Gamme de mesure: 5-500
| 3 | 328-2169 | Câble USB/RS 485 | 1 | 95 | 20% | 76 |  | 76 | 3
| 4 | 9999 | Alimentation 24V 0.8 A | 1 | 60 | 20% | 48 |  | 48 | 3
| 5 | 328-2164 | Cable alimentation 3 mètres | 2 | 50 | 20% | 40 |  | 80 | 3
|  |  |  | Total |  |  | EURO |  | 2444
|  |  |  | Minimum Charge |  |  | EURO |  | 0
|  |  |  | * Packing & Handling charges |  |  | EURO |  | 0
|  |  |  | Freight Charge |  |  | EURO
|  |  |  | Sub-total |  |  | EURO |  | 2444
|  |  |  | VAT 19,6% |  |  | EURO |  | 479.024
|  |  |  | Total |  |  | EURO |  | 2923.024
|  | Shipping instruction: | A.S.M.
Les Alisiers B
Z.I. les 3 moulins – Route des Alisiers
06600 ANTIBES
|  | Attention: | Mr Masse Charles
|  | Shipping reference: | Commande : DV 1 206 002 619
TERMS and CONDITIONS:
Trade Terms:
|  | Payment Terms: | 30 days net
|  | Partial Shipment: | Not allowed.
Regis Houllier
Director