## QUOTE
[5 empty] | - |  | - | QUOTATION
AIRLITEC Sarl 88, rue Jean Jaures 80470 Dreuil Les Amiens France
TEL.: +33 (0) 3 22 54 83 47 FAX: +33 (0) 3 22 54 83 29
Siret: 514 488 105 00016 Code APE: 4669B
| To : | Eurotech International |  |  |  | DATE: |  | 2012-01-26 |  | Offer: | 111701
|  | Adresse Postale : CS 80509 | [7 empty] | Kem Küppers 07/11/11
78108 SAINT-GERMAIN-EN-LAYE cedex
|  | Tel: +33 (0) 1 39 10 55 00 - Fax: +33 (0) 1 39 10 55 13 |  |  |  | Your reference No. : |  | 201201403
| Att.: | Mr Mohamed Echaïb |  |  |  | Our Quotation No. : |  | A2012RH033 |  | REV1 on 26/11/11
| Tel.: | Tel: +33 (0) 1 39 10 55 17 |  |  |  | Contact person : |  | Mr. Regis Houllier |  | Keep same price for this quote (2011) ok
| Fax: | Fax: +33 (0) 1 39 10 55 13 |  |  |  | Tel: |  | +33 3 22 54 83 47 |  | transportation: to Brest : 43€
| Email: | Email: mechaib@eurotech-intl.com |  |  |  | Fax: |  | +33 3 22 54 83 29 |  | Holtz on 26/01/12
| Web: |  |  |  |  | Email: |  | regis.houllier@airlitec.com
[6 empty] | Web: |  | www.airlitec.com
| ITEM | MODEL | DESCRIPTION |  | Q'TY | U/PRICE |  | AMOUNT | LEAD TIME
[6 empty] | (EURO) |  | (EURO) | (Weeks)
| 1 | HM 013 E05.G.TC.10 | Turbine Flow Meter |  | 1 | 1598 |  | 1598 | 5
measuring range:.... 8.5 to 85 lpm
measuring medium:... water
linearity:..........±1.0% of act. val.
repeatability:...... 0.1%
pulses/litre:....... approx. 900
operating temp.:.... 100 °C
operating pressure:. 100 bar
connections:........ Ermeto nut m 20s (M 30 x 2)
overall length:..... 84 mm
| 2 | HM 019 E05.G.TC.10 | Turbine Flow Meter |  | 1 | 1672 |  | 1672 | 5
measuring range:.... 15 to 150 lpm
measuring medium:... water
linearity:..........±1.0% of act. val.
repeatability:...... 0.1%
pulses/litre:....... approx. 310
operating temp.:.... 100 °C
operating pressure:. 100 bar
connections:........ Ermeto nut m 25s (M 36 x 2)
overall length:..... 107 mm
| 3 | VTEK/P | Carrier-Frequency Pulseamplifier |  | 1 | 295 |  | 295 | 5
design:............. with integral pickup
frequency range:.... 3 to 3,000 Hz
|  |  | outputs:............ frequency outputs | 1) push pull active or
2) passive NPN/OC
medium temp.:...... -20 to +120 °C
supply voltage:..... 7 to 29 V/DC
electr. connection:. 5-pin amphenolplug (T3362500)
| 4 | Stecker 5plg. Typ 423 (PG 7) | AMP socket 5-pin (PG 7) |  | 1 | 20 |  | 20 | 5
type: 423 2 99-5114-00-05
| 5 | IF 3 | Inductive Pickup Coil |  | 2 | 224 |  | 448 | 5
for pulse amplifier VIEG
version:............ single pickup coil
output:............. Uss 0.5 to 500 mV
output resistor:.... < 100 Ohm
inductivity:........ < 25 mH
fluid temperature:..-20 °C to +120 °C
electr. connection:. 3-pin amphenol plug
| 6 | 3-pin connector with strain relief | for IF* and IG* Series |  | 2 | 34 |  | 68 | 5
consisting of:
- CVS 06A 10 SL-3S F5
- MS 3057-4A F5
+ 3 Special Seal Gaskets
[5 empty] | Total | EURO |  | 4101
[5 empty] | Minimum Charge | EURO |  | 0
[5 empty] | * Packing & Handling charges | EURO |  | 0
[5 empty] | Freight Charge | EURO |  | 50
[5 empty] | Sub-total | EURO |  | 4151
[5 empty] | VAT 19,6% | EURO |  | 813.596
[5 empty] | Total | EURO |  | 4964.596
REMARKS:
* Lead time may be changed depending on the condition of the outstanding orders at our factory side.
TERMS and CONDITIONS:
|  | Trade Terms: | Livré sur Brest
|  | Payment Terms: | 30 days net
|  | Minimum Order Amount: | Euro 150 per order (Packing & Handling and Freight charges excluded).
|  | Partial Shipment: | Not allowed.
|  | Validity: | 60 days from quotation date.
|  | Cancellation: | Not allowed after your order is acknowledged.
(The Trade Terms are in accordance with Incoterms 2000.)
Regis Houllier
Director