## QUOTE
|  |  |  | - |  | - | OFFRE
AIRLITEC Sarl 88, rue Jean Jaures 80470 Dreuil Les Amiens France
TEL.: +33 (0) 3 22 54 83 47 FAX: +33 (0) 3 22 54 83 29
Siret: 514 488 105 00016 Code APE: 4669B
| A: | Arts et Métiers |  |  | DATE: |  | 2012-06-11
Paris Tech
Votre reference No. :
| Att.: | Mr Gauthier Menart |  |  | Notre offre No. : |  | A2012RH244
| Tel.: |  |  |  | Contact : |  | Mr. Regis Houllier
| Fax: |  |  |  | Tel: |  | +33 3 22 54 83 47
| Email: | gauthier.menart@gmail.com |  |  | Fax: |  | +33 3 22 54 83 29
| Web: |  |  |  | Email: |  | regis.houllier@airlitec.com
[5 empty] | Web: |  | www.airlitec.com
ludwig Dietz : 120823
| Item | Modèle | Description | Qté | Prix unit. |  | Total | Délais | 2012-06-11 | REV2
[5 empty] | (EURO) |  | (EURO) | (semaines)
| 1 | HM 1"/024.71.FDB040-TC15-G | Turbine Flow Meter | 1 | 2219 |  | 2219 | 5 |  | 57% | 0 | 40% | 0
measuring range:.... 25 to 250 lpm
measuring medium:... liquid nitrogen
viscosity:.......... 0.1 cSt
linearity:..........±1.0 % of act.val.
repeatability:...... 0.1%
pulses/litre:....... approx. 32.500
operating temp.:.... -196 °C
operating pressure:. 3 bar
connections:........ Flange DN25 PN40
Housing : SS316Ti; wheel SS329
bearing/shaft: tungsten carbide
| 2 | IF3 | Inductive Pickup Coil | 1 | 231 |  | 231 | 5
output:............. Uss 0.5 to 500 mV
housing:............ stls steel
| 3 | KAB-2-2-W-ST01-HT | Special cable for low temperature application | 1 | 78 |  | 78 | 5
| 4 | VIEG | Inductive Pulse Amplifier | 1 | 311 |  | 311 | 5
frequency range:.... 7 to 3,000 Hz
Output 1. Frequency voltage level (3-wire)
Output 2. Frequency current level (2-wire)
Power supply:....... 7 to 29 V/DC
|  |  |  | Total | EURO |  | 2839
|  |  |  | Charge minimale | EURO |  | 0
|  |  |  | Extra charge et emballage | EURO |  | 0
|  |  |  | Transport | EURO |  | 35
|  |  |  | Sous total | EURO |  | 2874
|  |  |  | TVA19,6% | EURO |  | 563.304
|  |  |  | Total | EURO |  | 3437.304
REMARQUES:
* le délai peut varier en fonction du plan de charge de l'usine
Termes et Conditions de vente:
|  | Conditions commerciales: | Livré en France
|  | Conditions de paiement: | 30 jours net
|  | Charge minimale par commande: | Euro 150 par commande (Extra charge, emballage et transport exclus).
|  | Expédition partielle: | Non autorisée.
|  | Validité: | 60 jours à partir de la date de l'offre
|  | Annulation: | Non autorisée après acceptation de la commande
(Conditions commerciales suivants Incoterms 2000.)
Regis Houllier
Directeur