## QUOTE
|  |  |  | - |  | - | OFFRE
AIRLITEC Sarl 88, rue Jean Jaures 80470 Dreuil Les Amiens France
TEL.: +33 (0) 3 22 54 83 47 FAX: +33 (0) 3 22 54 83 29
Siret: 514 488 105 00016 Code APE: 4669B
| A: | Micom Co. |  |  | DATE: |  | 2012-09-04
28 Sherif st., Downtown
Cairo
|  | Egypt |  |  | Votre reference No. :
| Att.: | Ms. Effat Nabil |  |  | Notre offre No. : |  | A2012RH328
| Tel.: | Tel: +202-23945400 |  |  | Contact : |  | Mr. Regis Houllier
| Fax: | Fax: +202-23905822 |  |  | Tel: |  | +33 3 22 54 83 47 |  | 2012-3059
| Email: |  |  |  | Fax: |  | +33 3 22 54 83 29 |  | Maren Vollmer
| Web: |  |  |  | Email: |  | regis.houllier@airlitec.com |  | 2012-09-04
[5 empty] | Web: |  | www.airlitec.com
| Item | Modèle | Description | Qté | Prix unit. |  | Total | Délais
[5 empty] | (EURO) |  | (EURO) | (semaines)
| 1 | MAG5704-1CB40-3BB1/Y01/Y17 | mag-flux Flowsensor A - Liner PTFE | 2 | 1388 |  | 2776 | 6 | 2260 | 57% | 971.8 | 30% | 1388.2857
Compact version with Transmitter M1
process connection: DN 25 DIN 2501 PN 40 mat. No. 1.4571
electrode material: tantalum
power supply: 18-36 V DC
analogue output: 4-20 mA
operating and display panel: with
cable gland entires: M20/M16 x 1,5
Y01: measuring range: 0 to 2000 l/h
Y17: stainless steel tag plate
Tag No. F2003
| 2 | MAG5704-1CB40-1BB1/Y01/Y17 | dito
|  |  | power supply: 230 V AC, 50/60 Hz / 15 VA | 4 | 1388 |  | 5552 | 6 | 2260 | 57% | 971.8 | 30% | 1388.2857
Tag No. F2002
| 3 | RE250A-1ADA0-G30-0EA-00AA02 | RE250 Variable Area Flowmeter | 4 | 984 |  | 3936 | 6 | 1093 | 37% | 688.59 | 30% | 983.7
Version: flow tube 15 CF-S
Process connection: DN 15 PN 40 B1 DIN EN 1092-1
Display: with local display and electric remote sensor 4 - 20 mA
Marking: stainless steel plate 40 x 20
Tag No. F4002
Media: Glycerin 99,9%
Density: 1,1944 kg/l
Viscosity: 1 mPa.s
Temperature: 20 °C
Pressure: max. 40 bar g
Flow Range: Qv 60 - 600 kg/h
| 4 | RE250A-1ADA0-131-0EA-00AA02 | RE250 Variable Area Flowmeter | 4 | 1523 |  | 6092 | 6 | 1692 | 37% | 1065.96 | 30% | 1522.8 | -0.00019713
Version: flow tube 15 CF-S
Process connection: DN 15 PN 40 B1 DIN EN 1092-1
Float absorbtion: with float absorption
Display: with local display and electric remote sensor 4 - 20 mA
Marking: stainless steel plate 40 x 20
Tag No. F2011
Media: Ether
Density: 0,715 kg/l
Viscosity: 0,224 cP
Temperature: 20 °C
Pressure: 3 bar g
Flow Range: Qn 0,3 - 3 l/min
| 5 | RE250A-1ADA0-G30-0EA-00AA02 | dito Item 3 | 4 | 984 |  | 3936 | 6 | 1093 | 37% | 688.59 | 30% | 983.7 | -0.00030528
Tag No. F3011
Media: Nitric Acid
Density: 1,34 g/cm³
Viscosity: 1,96 mPa.s
Temperature: 20 °C
Pressure: max. 40 bar g
Flow Range: Qv 60 - 600 kg/h
| 6 | RE250B-1ADA0-H30-0CJ-00AA02 | RE250 Variable Area Flowmeter | 4 | 765 |  | 3060 | 6 | 850 | 37% | 535.5 | 30% | 765 | -0.00039267
Version: flow tube 25 CF-S
Process connection: DN 15 PN 40 B1 DIN EN 1092-1
Display: with local display andone inductive contact
Marking: stainless steel plate 40 x 20
Tag No. F3012
Media: Toluene
Density: 0,86 kg/l
Viscosity: 0,59 mPa.s
Temperature: 20 °C
Pressure: max. 40 bar g
Flow Range: Qv 60 - 600 kg/h
|  |  |  | Total | EURO |  | 25352
|  |  |  | Charge minimale | EURO |  | 0
|  |  |  | Extra charge et emballage | EURO |  | 0
|  |  |  | Transport | EURO
|  |  |  | Sous total | EURO |  | 25352
|  |  |  | TVA19,6% | EURO
|  |  |  | Total | EURO |  | 25352
REMARKS:
* le délai peut varier en fonction du plan de charge de l'usine
Termes et Conditions de vente:
|  | Conditions commerciales: | Ex work Germany
|  | Conditions de paiement: | Advance payment
|  | Charge minimale par commande: | Euro 150 par commande (Extra charge, emballage et transport exclus).
|  | Expedition partielle: | Non autorisée.
|  | Validité: | 60 jours à partir de la date de l'offre
|  | Annulation: | Non autorisée après acceptation de la commande
(Conditions commerciales suivants Incoterms 2000.)
Regis Houllier
Directeur