## QUOTE
AZBIL EUROPE N.V. |  |  |  | - |  | - | QUOTATION
Bosdellestraat 120/2, B-1933 ZAVENTEM, BELGIUM.
TEL.: +32-(0)2/ 785.07.10. FAX: +32-(0)2/ 785.07.11. | [8 empty] | Dipl.-Ing.(FH)
Environment & Process
| To : | Lokman Colak |  |  | DATE: |  | 2012-03-06 |  | Electrical and Automation
ANDRITZ SEPARATION GMBH
Dillenburger Str. 100
|  | 51105 Köln, Germany |  |  | Your reference No. :
| Att.: | Phone: +49 (221) 9856 408 |  |  | Our Quotation No. : |  | Q2012RH084
| Tel.: | Fax: +49 (221) 9856 202 |  |  | Contact person : |  | Mr. Regis Houllier
| Fax: | Mobile: +49 (174) 3317636 |  |  | Tel: |  | +33 3 22 54 83 47
| Email: | lokman.colak@andritz.com |  |  | Fax: |  | +33 3 22 54 83 29
| Web: | www.andritz.com |  |  | Email: |  | regis.houllier@airlitec.com
[5 empty] | Web: |  | http://eu.azbil.com
| ITEM | MODEL | DESCRIPTION | Q'TY | U/PRICE |  | AMOUNT | LEAD TIME
[5 empty] | (EURO) |  | (EURO) | (Weeks)
[9 empty] | JLP | ATP | Cost | Margin | NSP
| 1 | GTX35F-BAAADAA1FAAA-AE1AXAX-R1T1T2 | AT9000 Advanced Transmitter/Flange-mounted | 4 | 968 |  | 3872 | 6 | 424000 | 0.137 | 580.88 | 40% | 968.1333
Span 2.5 to 100kPa (250 to 10160 mmH2O)
Range in pressure to be specified at order level
F Flange Size 3in./80mm
B output 4 to 20mA (HART Communication)
A Fill Fluid Regular type (Silicone OIL)
A Material(Meterbody Cover,VenSCS14A/316 SST
A Centerbody Material(Referenc316 SST/316 SST (Diaphragm:316L SST)
D Process Connections of Refe 1/2NPT Internal Thread, with Adapter Flange
A Process Installation of RefereVertical piping, Top Connection
A1 Flange Rating ANSI150
A Flange type Flush type
A Flange Material/Bolt and Nut 304 SST/304 SST
A Gasket face finish None (Standard JISRa3.2(12.5S))
A Electrical Connection 1/2 NPT, Watertight
E1 Explosion proof IECEx Explosionproof
A Indicator With Indicator
X Paint Standard
A Failure Alarm Upper Limit of output at abnormal Condition
X Mounting Bracket None
R1 option Custom Calibration
T1 option Test Report
T2 option MILL Certificate
| 2 | GTX35F-BAAADAA1FAAA-AE1AXAX-R1T1T2 | dito | 4 | 968 |  | 3872 | 6
Range : 0-300mmH2O
|  |  |  | Total | EURO |  | 7744
|  |  |  | Minimum Charge | EURO |  | 150
|  |  |  | * Packing & Handling charges | EURO |  | 0
|  |  |  | Freight Charge | EURO
|  |  |  | Sub-total | EURO |  | 7744
|  |  |  | VAT 21% | EURO
|  |  |  | Total | EURO |  | 7744
REMARKS:
* Lead time may be changed depending on the condition of the outstanding orders at our factory side.
* For our export procedure, End User Name + Country + End Use (company's main activity, product) must be
specified on your Purchase Order Sheet.
* Before shipping the goods please take notice that the payment must be registered in our bank account.
* Certificate of Origin = 50 Euro
* Cash Against Document = 80 Euro bank charges
* Legalization of documents = 30 Euro per document
TERMS and CONDITIONS:
|  | Trade Terms: | FCA JAPAN / Direct shipment from Japan by Air (Freight collect) by our forwarder,
Unless otherwise instructed on your order sheet.
|  | Payment Terms: | Advance payment by T/T remittance
|  | Minimum Order Amount: | Euro 150 per order (Packing & Handling and Freight charges excluded).
|  | Partial Shipment: | Not allowed.
|  | Shipping Route: | By Air freight
|  | Validity: | 60 days from quotation date.
|  | Cancellation: | Not allowed after your order is acknowledged.
(The Trade Terms are in accordance with Incoterms 2000.)
Regis Houllier
On behalf of Azbil Europe N.V.