## QUOTE
AZBIL EUROPE N.V. |  |  |  | - |  | - | QUOTATION
Bosdellestraat 120/2, B-1933 ZAVENTEM, BELGIUM.
TEL.: +32-(0)2/ 785.07.10. FAX: +32-(0)2/ 785.07.11.
| To : | PRIME TRADING |  |  | DATE: |  | 2012-05-07
Prime Trading and Industrial Services GmbH
Jungfernstieg 34 20354 Hamburg Germany
Your reference No. :
| Att.: | Alexander |  |  | Our Quotation No. : |  | Q2012RH165
| Tel.: | Dir +49 40 37 49 87 12 |  |  | Contact person : |  | Mr. Regis Houllier
| Fax: | Tel +49 40 37 49 87 - 0 |  |  | Tel: |  | +33 3 22 54 83 47
| Email: | Fax +49 40 37 49 87 87 |  |  | Fax: |  | +33 3 22 54 83 29
| Web: | alexander@primetrading.de |  |  | Email: |  | regis.houllier@airlitec.com
|  | info@primetrading.de www.primetrading.de |  |  | Web: |  | http://eu.azbil.com
sugimoto 15/03/12
| ITEM | MODEL | DESCRIPTION | Q'TY | U/PRICE |  | AMOUNT | LEAD TIME
[5 empty] | (EURO) |  | (EURO) | (Weeks)
|  | Replacement of JTD220Z-A1R-00000-GN4-XX | [6 empty] | JLP | ATP | Cost | Margin | NSP
| 1 | GTX31D-BAAADAA-AF2AXA1-R1T1 | AT9000 Advanced Transmitter/Differential Pressure | 2 | 711 |  | 1422 | 6 | 368000 | 0.116 | 426.88 | 40% | 711.4667
A Material(Centerbody) 316 SST (Diaphragm:316L SST)
B output 4 to 20mA (HART Communication)
A Fill Fluid Regular type (Silicone OIL)
A Material(Meterbody Cover,Vent/Drain plugs) SCS14A/316 SST
D Process Connection 1/2 NPT Internal Thread, with Adapter Flange
A Process Installation Vertical piping, Top Connection
A Bolt/Nut Carbon Steel
A Electrical Connection 1/2 NPT, Watertight
F2 Explosion proof FM Intrinsically Safe
A Indicator With Indicator
X Paint Standard
A Failure Alarm Upper Limit of output at abnormal Condition
1 Mounting Bracket CF8（L form)
R1 option Custom Calibration (need it at order level)
T1 option Test Report
|  |  |  | Total | EURO |  | 1422
|  |  |  | Minimum Charge | EURO |  | 150
|  |  |  | * Packing & Handling charges | EURO |  | 0
|  |  |  | Freight Charge | EURO
|  |  |  | Sub-total | EURO |  | 1422
|  |  |  | VAT 21% | EURO
|  |  |  | Total | EURO |  | 1422
REMARKS:
* Lead time may be changed depending on the condition of the outstanding orders at our factory side.
* For our export procedure, End User Name + Country + End Use (company's main activity, product) must be
specified on your Purchase Order Sheet.
* Before shipping the goods please take notice that the payment must be registered in our bank account.
* Certificate of Origin = 50 Euro
* Cash Against Document = 80 Euro bank charges
* Legalization of documents = 30 Euro per document
TERMS and CONDITIONS:
|  | Trade Terms: | FCA JAPAN / Direct shipment from Japan by Air (Freight collect) by our forwarder,
Unless otherwise instructed on your order sheet.
|  | Payment Terms: | advance payment
|  | Minimum Order Amount: | Euro 150 per order (Packing & Handling and Freight charges excluded).
|  | Partial Shipment: | Not allowed.
|  | Shipping Route: | By Air freight
|  | Validity: | 60 days from quotation date.
|  | Cancellation: | Not allowed after your order is acknowledged.
(The Trade Terms are in accordance with Incoterms 2000.)
Regis Houllier
On behalf of Azbil Europe N.V.