## QUOTE
AZBIL EUROPE N.V. |  |  |  | - |  | - | QUOTATION
Bosdellestraat 120/2, B-1933 ZAVENTEM, BELGIUM.
TEL.: +32-(0)2/ 785.07.10. FAX: +32-(0)2/ 785.07.11.
| To : | Simon van Kampen |  |  | DATE: |  | 2012-06-05
S.S.G. Shipping Services B.V.
Phone +31 10 246 90 04
|  | Mobile +31 6 400 20 525 |  |  | Your reference No. : |  | OIT06712
| Att.: | Fax +31 10 246 79 18 |  |  | Our Quotation No. : |  | Q2012RH207
| Tel.: | e-mail info@ssg.nl |  |  | Contact person : |  | Mr. Regis Houllier
| Fax: | www.ssg.nl |  |  | Tel: |  | +33 3 22 54 83 47
| Email: |  |  |  | Fax: |  | +33 3 22 54 83 29
| Web: |  |  |  | Email: |  | regis.houllier@airlitec.com
[5 empty] | Web: |  | http://eu.azbil.com
| ITEM | MODEL | DESCRIPTION | Q'TY | U/PRICE |  | AMOUNT | LEAD TIME
[5 empty] | (EURO) |  | (EURO) | (Weeks)
[9 empty] | JLP | ATP | Cost | Margin | NSP
| 1 | JTD920A-1E1A2-KXAX1-A2T1 | DP Transmitter type ACE | 1 | 1153 |  | 1153 | 5 | 372 | 0.155 | 576.6 | 50% | 1153.2
Stainless steel wetted parts
Process connection: Rc1/2 Top
Bolts/nuts: SUS304
TIIS intrinsically safe
Without display
Corrosion resisitant finish
With mounting bracket
With zero/span adjustment
With test report
Gange: 0-500mmH2O
|  | Replacement of SDC2005GC01A00201 | [6 empty] | 147.13 | 10% | 161.843 | 50% | 323.686
| 2 | C36TC0UA1100 | 96*96 digital Controller | 1 | 324 |  | 324 | 5
Universal input
Universal Power supply: 90-264Vac
Current Output
3 alarm relays
4 digital inputs
Offer CRA 1200064
Replacement of SDC2005GC01A00401
| 3 | C36TC0UA1300 | Dito | 2 | 387 |  | 774 | 5 | 176.13 | 10% | 193.743 | 50% | 387.486
With remote setpoint
2 digital inputs
| 4 | JTG940A-1E1A2-KXAX1-A2T1 | GP Transmitter | 1 | 1138 |  | 1138 | 5 | 367 | 0.155 | 568.85 | 50% | 1137.7
Stainless steel wetted parts
Process connection: Rc1/2 Top
Bolts/nuts: SUS304
TIIS intrinsically safe
Without display
Corrosion resisitant finish
With mounting bracket
With zero/span adjustment
With test report
Gange: 0-25Kgf/cm2
Replacement of TY7700A16, R 1/2inch (PT 1/2)
| 5 | 3000.4459 | Temperature Transmitter | 1 | 310 |  | 310 | 5 | 197 | 10% | 216.7 | 30% | 309.5714
PT100
Length: 240mm
Connection Rc1/2
As drawing attached
| 6 | 80330420-10100 | Regulator with Filter | 1 | 176 |  | 176 | 5 | 19.5 | 0.45 | 87.75 | 50% | 175.5
|  | KZ03-2A-X | Rc1/4 connection
Range: 0-4K
|  |  |  | Total | EURO |  | 3875
|  |  |  | Minimum Charge | EURO |  | 150
|  |  |  | * Packing & Handling charges | EURO |  | 0
|  |  |  | Freight Charge | EURO
|  |  |  | Sub-total | EURO |  | 3875
|  |  |  | VAT 21% | EURO
|  |  |  | Total | EURO |  | 3875
REMARKS:
* Lead time may be changed depending on the condition of the outstanding orders at our factory side.
* For our export procedure, End User Name + Country + End Use (company's main activity, product) must be
specified on your Purchase Order Sheet.
* Before shipping the goods please take notice that the payment must be registered in our bank account.
* Certificate of Origin = 50 Euro
* Cash Against Document = 80 Euro bank charges
* Legalization of documents = 30 Euro per document
TERMS and CONDITIONS:
|  | Trade Terms: | FCA JAPAN / Direct shipment from Japan by Air (Freight collect) by our forwarder,
Unless otherwise instructed on your order sheet.
|  | Payment Terms: | Advance payment by T/T remittance
|  | Minimum Order Amount: | Euro 150 per order (Packing & Handling and Freight charges excluded).
|  | Partial Shipment: | Not allowed.
|  | Shipping Route: | By Air freight
|  | Validity: | 60 days from quotation date.
|  | Cancellation: | Not allowed after your order is acknowledged.
(The Trade Terms are in accordance with Incoterms 2000.)
Regis Houllier
On behalf of Azbil Europe N.V.