## QUOTE
AZBIL EUROPE N.V. |  |  |  |  | - |  | - | QUOTATION
Bosdellestraat 120/2, B-1933 ZAVENTEM, BELGIUM.
TEL.: +32-(0)2/ 785.07.10. FAX: +32-(0)2/ 785.07.11.
| To : | Roy French , Technical Sales Manager |  |  |  | DATE: |  | 2012-06-25
Mobile: 07779992582
United Automation Ltd
|  | Wight Moss Way , |  |  |  | Your reference No. :
| Att.: | Southport Business Park , Southport , PR8 4HQ . |  |  |  | Our Quotation No. : |  | Q2012RH235
| Tel.: | Tel : 00(44) 1704 516517 Fax : 00(44) 1704 516501 |  |  |  | Contact person : |  | Mr. Regis Houllier
| Fax: |  |  |  |  | Tel: |  | +33 3 22 54 83 47
| Email: |  |  |  |  | Fax: |  | +33 3 22 54 83 29
| Web: |  |  |  |  | Email: |  | regis.houllier@airlitec.com
[6 empty] | Web: |  | http://eu.azbil.com
| ITEM |  | MODEL | DESCRIPTION | Q'TY | U/PRICE |  | AMOUNT | LEAD TIME
[6 empty] | (EURO) |  | (EURO) | (Weeks)
[10 empty] | JLP | ATP | Cost | Margin | NSP
| 1 |  | MTG11A-150PA1KKBAAJ-2X-AK | 2 wires Flowmeter | 2 | 3887 |  | 7774 | 8 | 1178000 | 0.198 | 2332.44 | 40% | 3887.4
|  | 150 | Diameter | 150mm(Flange type only)
|  | P | Lining | PFA
|  | A1 | Connection Rating | Flange ANSI150
|  | K | Electrode | Titanium
|  | K | Grounding Ring | Titanium
|  | B | Input port for Wiring Connection | G1/2 Internal Thread/Plastic Watertight Gland applying
|  | A | Face-to-Face Dimension | Standard
|  | A | Installation/ Display Direction | Horizontal piping/Indication of Standard Direction
|  | J | Calibration | Standard Calibration 3 point(0,50,100%)
|  | 2 | Finish | Corrosion proof finish
|  | X | Bolts and Nuts | None
|  | A | Options | Test Report
|  | K | Options | Attachment of the Tag Number plate
|  | Tag No. |  | A00GDQ66DF001
|  | Service Name |  | INTAKE NO.2 SHOCK DOSING FLOWMETER
|  | Range, Lower Limit |  | 0
|  | Range, Upper Limit |  | 150
|  | Range, Upper Limit, Unit |  | m3/h
| 2 |  | MTG11A-100PA1KKBAAJ-2X-AK | 2 wires Flowmeter | 2 | 2683 |  | 5366 | 8 | 813000 | 0.198 | 1609.74 | 40% | 2682.9
|  | 100 | Diameter | 100mm
|  | P | Lining | PFA
|  | A1 | Connection Rating | Flange ANSI150
|  | K | Electrode | Titanium
|  | K | Grounding Ring | Titanium
|  | B | Input port for Wiring Connection | G1/2 Internal Thread/with Plastic Watertight Gland
|  | A | Face-to-Face Dimension | Standard
|  | A | Installation/ Display Direction | Horizontal piping/Indication of Standard Direction
|  | J | Calibration | Standard Calibration 3 point(0,50,100%)
|  | 2 | Finish | Corrosion-resistant
|  | X | Bolts and Nuts | None
|  | A | Options | Test Report
|  | K | Options | Attachment of the TAG Number plate
|  | Tag No. |  | A00GDQ65DF001
|  | Service Name |  | INTAKE NO.2 CONTINUOUS DOSING FLOWMETER
|  | Range, Lower Limit |  | 0
|  | Range, Upper Limit |  | 100
|  | Range, Upper Limit, Unit |  | m3/h
[5 empty] | Total | EURO |  | 13140
[5 empty] | Minimum Charge | EURO |  | 150
[5 empty] | * Packing & Handling charges | EURO |  | 0
[5 empty] | Freight Charge | EURO
[5 empty] | Sub-total | EURO |  | 13140
[5 empty] | VAT 21% | EURO
[5 empty] | Total | EURO |  | 13140
REMARKS:
* Lead time may be changed depending on the condition of the outstanding orders at our factory side.
* For our export procedure, End User Name + Country + End Use (company's main activity, product) must be
specified on your Purchase Order Sheet.
* Before shipping the goods please take notice that the payment must be registered in our bank account.
* Certificate of Origin = 50 Euro
* Cash Against Document = 80 Euro bank charges
* Legalization of documents = 30 Euro per document
TERMS and CONDITIONS:
|  |  | Trade Terms: | FCA JAPAN / Direct shipment from Japan by Air (Freight collect) by our forwarder,
Unless otherwise instructed on your order sheet.
|  |  | Payment Terms: | 30 days from invoice date
|  |  | Minimum Order Amount: | Euro 150 per order (Packing & Handling and Freight charges excluded).
|  |  | Partial Shipment: | Not allowed.
|  |  | Shipping Route: | By Air freight
|  |  | Validity: | 60 days from quotation date.
|  |  | Cancellation: | Not allowed after your order is acknowledged.
(The Trade Terms are in accordance with Incoterms 2000.)
Regis Houllier
On behalf of Azbil Europe N.V.