## QUOTE
AZBIL EUROPE N.V. |  |  |  | - |  | - | QUOTATION
Bosdellestraat 120/2, B-1933 ZAVENTEM, BELGIUM.
TEL.: +32-(0)2/ 785.07.10. FAX: +32-(0)2/ 785.07.11.
| To : | Djaikoemar Toekoen |  |  | DATE: |  | 2012-10-18
Spare parts department, Inert Gas Systems
Tel direct: +31 24 35 23 188 - Direct fax: +31 24 35 23 177
|  | djaikoemar.toekoen@alfalaval.com |  |  | Your reference No. :
| Att.: |  |  |  | Our Quotation No. : |  | Q2012RH373
| Tel.: | Alfa Laval Aalborg Nijmegen BV |  |  | Contact person : |  | Mr. Regis Houllier
| Fax: | Visit: St. Hubertusstraat 10 – 6531 LB Nijmegen |  |  | Tel: |  | +33 3 22 54 83 47
| Email: | Tel switchboard: +31 24 35 23 100 - Fax switchboard: +31 24 35 64 995 |  |  | Fax: |  | +33 3 22 54 83 29
| Web: | www.alfalaval.com - www.aalborg-industries.com |  |  | Email: |  | regis.houllier@airlitec.com
[5 empty] | Web: |  | http://eu.azbil.com
| ITEM | MODEL | DESCRIPTION | Q'TY | U/PRICE |  | AMOUNT | LEAD TIME
[5 empty] | (EURO) |  | (EURO) | (Weeks)
|  | Replacement of STC929-F1RJA2J00-X-C7U1 : | [6 empty] | JLP | ATP | Cost | Margin | NSP
| 1 | GTX35F-AAABDAJ1FAEA-AXXXXAX-R1 | GTX pressure transmitter Flange model | 1 | 1263 |  | 1263 | 6 | 461 | 0.137 | 631.57 | 50% | 1263.14
|  |  | 4-20mA output | [5 empty] | 5 | 0.137 | 6.85 | 50% | 13.7
|  |  | Wetted parts : Hastelloy ASTM B575 | [5 empty] | Ok to offer M20 at same price on telephone on 26/11/12
Process connection: 1/2 NPT with adapter flange
vertical piping Top connection
Flange JIS 10K 3 inches (80mm)
Flange in SUS316; bolts/vuts : SUS304
No approval
No display
Custom calibration : 0-1000mbars
|  |  |  | Total | EURO |  | 1263
|  |  |  | Minimum Charge | EURO |  | 150
|  |  |  | * Packing & Handling charges | EURO |  | 0
|  |  |  | Freight Charge | EURO
|  |  |  | Sub-total | EURO |  | 1263
|  |  |  | VAT 21% | EURO
|  |  |  | Total | EURO |  | 1263
REMARKS:
* Lead time may be changed depending on the condition of the outstanding orders at our factory side.
* For our export procedure, End User Name + Country + End Use (company's main activity, product) must be
specified on your Purchase Order Sheet.
* Before shipping the goods please take notice that the payment must be registered in our bank account.
* Certificate of Origin = 50 Euro
* Cash Against Document = 80 Euro bank charges
* Legalization of documents = 30 Euro per document
TERMS and CONDITIONS:
|  | Trade Terms: | FCA JAPAN / Direct shipment from Japan by Air (Freight collect) by our forwarder,
Unless otherwise instructed on your order sheet.
|  | Payment Terms: | Advance payment by T/T remittance
|  | Minimum Order Amount: | Euro 150 per order (Packing & Handling and Freight charges excluded).
|  | Partial Shipment: | Not allowed.
|  | Shipping Route: | By Air freight
|  | Validity: | 60 days from quotation date.
|  | Cancellation: | Not allowed after your order is acknowledged.
(The Trade Terms are in accordance with Incoterms 2000.)
Regis Houllier
On behalf of Azbil Europe N.V.